**HARBIN**

Relative quantitation data analysis tool for real-time qPCR data

**LICENSE**

Harbin

Copyright© 2014-2016 Rachelle Bester, Pieter T Pepler and Hans J Maree

This program is free software: you can redistribute it and/or modify it under the terms of the GNU General Public License as published by the Free Software Foundation, either version 3 of the License, or (at your option) any later version.

This program is distributed in the hope that it will be useful, but WITHOUT ANY WARRANTY; without even the implied warranty of MERCHANTABILITY or FITNESS FOR A PARTICULAR PURPOSE. See the GNU General Public License for more details.

You should have received a copy of the GNU General Public License along with this program. If not, see http://www.gnu.org/licenses/.

**SYNOPSIS**

Harbin is a tool for interactive evaluation of real-time qPCR data. Gene expression analysis can be performed with a relative quantitation strategy using the standard curve method and normalisation with a reference gene index. Harbin also allows for the pooling of different qPCR data sets/experiments for further analysis by assigning a score to each concentration ratio and subsequently testing if the datasets are sufficiently compatible before combining them. Differential expression analysis between biological conditions/groups is also possible.

**CITATION**

If you use Harbin in your work, please cite:

Bester, R., Pepler, P.T. and Maree, H.J. (2016) Harbin: An analysis tool for relative quantitation of real-time qPCR data and a quantile-based bootstrap test for data pooling.

**DEPENDENCIES**

Harbin was developed for the R statistical computing environment and will run on all major platforms (Windows, Mac OS, and Linux distributions).

Harbin is dependent on base R and additional packages (psych, car, beeswarm) available from the Comprehensive R Archive Network (CRAN). However, Harbin can also be used via the Shiny web application, without a local installation of R. A web browser and an Internet connection are the only requirements.

**INSTALL**

WEB APPLICATION:

1. Check to see if you have a working Internet connection.

2. Open a web browser and go to the following site:

<https://rbester.shinyapps.io/Harbin/>

3. Start data analysis (see **USAGE**)

FREE STANDING APPLICATION:

If you are familiar with R and Shiny, Harbin can also be run directly from R utilising the Shiny interface:

1. Download R or R studio from:

<https://cran.rstudio.com/> or <https://www.rstudio.com/products/rstudio/download/>

2. After installation load R in terminal or open the R studio app.

3. Use the following code in R/RStudio to check if packages are installed and install them if they are not:

pkg <- c("shiny", "psych", "car", "beeswarm")

new.pkg <- pkg[!(pkg %in% installed.packages())]

if (length(new.pkg)) {

install.packages(new.pkg)

}

4. Download the zip Harbin directory from GitHub:

<http://rbester18.github.com/harbin/>

5. After download, UNZIP the Harbin directory and set your working path in R or RStudio to the Harbin directory:

setwd("Path\_to\_the\_unzipped\_harbin\_directory")

6. Load the Shiny library in R/RStudio:

library(shiny)

7. Run the Harbin app:

runApp("Harbin\_app\_new\_RG")

8. A second window will open with the Harbin application. Click on the “Open in Browser” button in the left upper corner to open the application in your default web browser for better visualisation.

9. Start data analysis (see **USAGE**)

**USAGE**

The Harbin web application is organised into five different panels:

**A: Data upload**

This is the default active tab when the application starts.

Two options are available, either direct input of your gene of interest files (exported .csv files) and reference genes files (exported .csv files) from the Rotor-Gene Q software (version 2.3.11 and above) or manual import of Cq values from another platform.

For the Rotor-Gene option, at least one gene of interest file and one reference gene file need to be provided.

If data for one gene is split over multiple .csv files, multiple files can be selected for upload. For each gene, standard curve data and sample data need to be available in one of the files selected for upload.

Sample labelling: It is essential that standard curve samples be tagged as “Standard” and samples for the analysis be tagged as “Unknown” in the “Type” column (Automatic classification system of the Rotor-Gene Q software). The values for the “Standard” tagged samples will be used to set the minimum and maximum valid Cq value to prevent extrapolation of concentrations from the standard curve beyond the standard curve range. Please note that the Rotor-Gene Q format changed in version 2.3.11 and additional rows in the header of the file and a “Color” column was added to the .csv file.

For generation of the .csv file from the Rotor-Gene Q software please visit:

<https://www.qiagen.com/za/resources/resourcedetail?id=58d4a7d9-287f-4b01-85c3-5cb83db2228b&lang=en>

or see the Rotor-Gene Q manual included in the GitHub directory at:

<http://rbester18.github.com/harbin/>

An example .csv file is available for download in the application or in the GitHub directory.

After data upload, row numbers, sample names and concentration values will be checked for consistency.

To perform normalisation, every sample name in the gene of interest file(s) need to be present in all the reference gene file(s) and every sample need to have a concentration value in the “Rep. Calc. Conc.” column. If inconsistencies are detected, a warning and/or error will be shown in the “Data upload” panel.

For manual importing of Cq values from a different qPCR platform than Rotor-Gene Q, Cq values need to be provided in a single comma-separated file (.csv). Column one should contain the names of the samples, column two the gene of interest Cq values and then column three onwards the Cq values per reference gene used. Every sample in the gene of interest column will need to have a value in each of the reference gene columns. An example file (Manual\_Cq\_example\_input.csv) is available for download in the application or in the GitHub directory.

After upload of files are complete, normalisation will be done in the background by dividing the gene of interest value per sample by the reference gene index (geometric mean of the reference gene concentrations for each sample). The uploaded files and the normalised values can be viewed by selecting the “Rotor-Gene data output” or “Manual import data output” panels.

**B: Harbin intervals**

After normalisation, each concentration ratio (CR) is assigned a score based on the distribution of the data. The 20th, 40th, 60th and 80th percentiles of the CRs distribution are calculated and assigned a score (1–5). A CR in the lowest quantile (0–20%) is assigned a “1”, and a CR in the highest quantile (80–100%) is assigned a “5”.

The normalised values and the interval scores can be downloaded at the bottom of the page with the “Download normalised GOI data” button.

If a previous experiment (reference data set) is available and you want to add the new data to the previous experiment, the two data sets can be compared to see if the data is compatible based on the distribution functions of the two data sets. A reference data set example file is available for download in the app or in the GitHub directory. Either the Kolmogorov-Smirnov test or the Harbin test can be performed to compare data sets.

The Kolmogorov-Smirnov test is a well-known test to assess the location, scale or shape of the empirical distribution functions of data sets and is the default option to compare data sets in the Harbin application. The Harbin test is proposed for a more conservative approach to avoid considering samples from two different distributions as originating from populations with the same distribution. The Harbin test is also applicable for scenarios with a larger reference data set than the test data set.

Both tests will produce a p value to assess the null hypothesis that both data sets have the same distribution function. If the p value is smaller than a chosen significance level (e.g. 0.05), the statistical evidence is considered sufficient to reject the null hypothesis and conclude that the data distribution functions differ from each other. For more details on the Harbin test, please see the end of this document.

The percentage of the elements in the reference data set for which the “labels” (1–5) have changed are also calculated for both tests.

Even though the analysis was performed using the combined data set, the new data has not been added to the reference data set until the option to add it has been selected. The data in the reference data set will be updated according to the new combined data distribution. After selecting this option, the new reference data set can be downloaded with the updated interval scores. The application will also check the names of the samples present the reference data set. If the new data set contains samples with the same names of samples in the reference data set, a warning will be shown to help avoid accidental duplication in the reference data set.

This panel also has a view option for the data intervals. By selecting “View intervals”, plots will be displayed for the new data, unchanged reference data set (if option to compare to reference data set was selected) and the new reference data set (if option to add to reference data set was selected). In these plots the different data distributions can be viewed and the influence of the distribution of each data set on the interval boundaries can be seen (indicated with dotted lines).

**C: Group selection**

If applicable, the normalised data, the new reference data set or a different file (formatted as reference data set file) can be loaded and grouped into biological conditions/groups to perform statistical analysis. In this panel the user can select the number of groups to be compared and subsequently the same number of tables (sample name and sample value) will show up for selection of the individual samples to be classified into each group.

The parametric statistical tests included within Harbin are based on the assumption that the variables are normally distributed and group variances equal. A violation of the normality assumption can affect the nominal probability of a Type I or Type II error. Appropriate transformation of the data points can lessen the degree to which the assumptions are violated. These transformed values can then be used in the statistical tests.

The Harbin application allows for data transformation using the natural log or log base 10.

**D: Data distribution**

In this panel the basic statistics of each group selected in the previous panel will be displayed. A density plot showing the data range and the mean of each group is also plotted, together with a box and whisker plot for better visualisation of each group’s distribution.

Two tests are performed for the hypothesis that the sample data comes from a population with a normal distribution. As a guideline, the normality assumption is not rejected if the p value for each test is greater than 0.05.

Two test for homoscedasticity (Levene’s test and Bartlett's test) is performed to assess the variances of the groups. Group population variances are assumed to be equal if the p value for this test is greater than 0.05.

Even if a statistical test has been performed on a transformed variable, it is not recommended to report the basic statistics (means, standard deviation etc.) in transformed units. These statistics should be re-calculated using the untransformed data set by selecting the “do not transform option” in the “Group selection” panel. The “Data distribution” panel will refresh automatically.

**E: Statistical tests**

In this panel the statistical significance testing results between the concentration ratios across biological conditions can be viewed.

If the normality assumption seems justified, the parametric test results can be used. For two independent sample groups, a t test is available. If population group variances are considered to be equal, the ordinary t test results can be used. If the group variances are not equal, the Welsh t test is available. For two or more independent sample groups a single factor analysis of variance (ANOVA) test will be performed.

For data not from normally distributed populations, the non-parametric tests are available. For two independent sample groups the Wilcoxon rank sum test is available and for two or more independent groups, the Kruskal Wallis test can be used to determine whether there are location differences between the groups.

**Additional notes**

Even if results from the Harbin and/or Kolmogorov-Smirnov tests indicate that the pooling of qPCR data sets seem justified, it is strongly recommended to only pool data sets that have been generated using the same RT-qPCR protocol.

**Contact details for authors**

Dr H.J Maree

Department of Genetics

Stellenbosch University

Private Bag X1

Matieland

7602

South Africa

hjmaree@sun.ac.za

or hano.maree@gmail.com